Laboratory Quality Assurance

Programme

AAC 07: There is an established laboratory quality assurance programme

Policy

To make the hospital’s laboratories quality assured.

SCOPE

This policy is applicable to the laboratory servicesprovided in the hospital

PROCEDURE

- Quality Assurance program of laboratory is focused on key characteristics.

- The key characteristics shall meet the specified acceptance criteria / norms.

- The key characteristics are monitored on regular basis to ensure that they meet the acceptance criteria. A record for this is maintained in quality assurance register of the department.

- Departmental coordinator shall be vigilant about these key characteristics. Based on the observation, departmental coordinator shall record his / her remark against the key characteristics as to whether the key characteristics meet the acceptance norms or not. Specific comments for the key characteristics may also be written.

- Validation of test result is to be done by an external agency once in a month.

- These records shall be reviewed by Quality Assurance team.

- There is a Mechanism to obtain feedbacks from various stakeholders to evaluate the laboratory services.

- The documentation on corrective & preventive actions to be done.

- Quality Assurance includes internal quality control, external quality assurance, pre- analytic phase, test standardization, post analytic phase, management & organization.

# KEY PERFORMANCE INDICATORS

# Number of reporting errors/1000 investigations

# Percentage of re-dos

# Percentage of adherence to safety precautions by employees working in diagnostics

It is mandatory that all investigations forms have a provisional diagnosis/relevant clinical details written on them.

| S. No. | Key characteristics | Acceptance norms / criteria | Responsibility and conformance verification. | ## Frequency |
| --- | --- | --- | --- | --- |
| 1. | Check of calibration and maintenance of equipments according to standard. | As per the manufacturer’s instruction. (at every reconstitution) | Technician | As per manufactures instruction |
| 2. | Compliance monitoring | Compliance as per standards, SOP and policies | HOD | ## Continuous |
| 3. | Timely intimation of critical results | Within ½ hour | Technician | ## Daily |
| ## Biochemistry |  |  |  |  |
| 1 | Daily washing of equipments with approved disinfectant solution and distilled water. | Clean glassware | Technician | Weekly |
| 2 | Washing of equipments with cleaner ( reagent) | As per the manufacturer’s instruction. | Technician | Fortnightly |
| 3 | Calibration through control (Biochemistry Kit ) | As per the manufacturer’s instruction. | Technician | Daily |
| Hematology |  |  |  |  |
|  | Maintenance of equipment | As per the instruction in operation manual. | Technician | Daily |
|  | Calibration through control. (Hematology kit) | As per the manufacturer’s instruction. | Service Engineer of the company. | 6 monthly |

The quality control program includes documentation, training and implementation of good laboratory practice and procedures.

- A complete listing of standard operating procedures (SOP’s) is one of the QC practices. Individual SOP’s for sample receipt and logging, sample preparation, extraction, calibration solution preparation and instrument setup/operation/maintenance is specified in detail.

- Quality assessment is achieved through systematic measurement and documentation of bias, accuracy and precision.

  - Documentation and elimination of bias is done by analyzing the Blank solution with actual samples using the same calibration.

  - For accuracy, reference sample which is homogenized sample, as similar as possible to the routine samples being tested.

Internal controls for biochemistry and hematology are run regularly.

We are participating in external assurance programme in Biochemistry                  (CMC Vellore)

  - Precision of analytical results is documented through replicate testing of routine samples or by routine analysis of internal reference samples.

  - Surveillance of laboratory results like controls, external and internal quality assurance results, non- conformances etc shall be periodically assessed by the designated individual.

- New quality control assessments are always viewed relative to past performance. The attainable accuracy and precision within the normal range of sample content is defined. Once attainable standards are determined, they are used to maintain consistent analytical quality over time. Allowance is made for decreased accuracy and precision and increased analytical uncertainty as an analyte approaches.

- Traceability certificate of all calibration done shall also be documented and maintained, and also include point of care equipment wherever feasible.

VERIFICATION:

Verification of Standard method performance:

- For verifying method performance for existing tests in the laboratory- each new batch/lot of reagents must be compared with the results of a defined number of tests done with an earlier lot/batch.

- Accuracy and precision by alternate established methods either within the laboratory or from outside laboratory.

VALIDATION:

Validation of method: When new test starts in lab

- Modified official methods

- In-house developed methods

- Changing involving new technology or automation.